## Slide 1: Method development for the analysis of Flonicamid and its metabolites in Prickly pear fruit / Pad by HPLC-MS/MS for PR# 11966.17 Sima R. Kumar and Les Geissel IR-4, Michigan State University

## Slide 2
Molecular structures for Flonicamid and metabolites.

## Slide 3
Flonicamid and its metabolites parent mass ions and daughter ions

## Slide 4
An example of the chromatogram of Pad control with high concentration of TFNA-AM

## Slide 5
An example of Fruit control chromatogram of prickly pear

## Slide 6
An example of Spike sample of pad showing high concentration of TFNA-AM same as in control

## Slide 7
0.001 ppm Std analyzed with 0.01 ppm Spike sample of Pad

## Slide 8
Example chromatogram of Pad from store bought
All clean, no residue

## Slide 9
10 µL inj was overloading the column and peak shapes were not good

## Slide 10
4 µL injection did not give consistent results and overloaded the column

## Slide 11
2 µL injection worked best without overloading the column

## Slide 12
Flonicamid analysis of calibration standards at 2 µL Injections
Notes: I want to tell everyone how yucky prickly pears are

## Slide 13
TFNG analysis of calibration standards at 2 µL Injections

## Slide 14
TFNA analysis of calibration standards at 2 µL Injections

## Slide 15
TFNA-AM analysis of calibration standards at 2 µL Injections

## Slide 16
Results summary of Flonicamid on 0.01 PPM, MVS_Pads_PR#11966

## Slide 17
Complete analysis with acceptable recoveries at all levels

## Slide 18
Finally we were able to complete MV Studies with an acceptable recoveries at all thee levels

## Slide 19: Thank you!
Any questions?